## Sheet1
Fault 2021-12-04 23:53:50
| Fault Number | Building Trade | Trade Category | Type of Fault | Impact | Location | Cancel Status | Reported Date | Fault Acknowledged Date | Responded on Site Date | RA Conducted Date | Work Started Date | Work Completed Date | Other Trades Required Date | Cost Cap Exceed Date | Assistance Requested Date | Fault Reference | End User Priority | Incident Report | Remarks
| FID4064 | Mechanical | Water Fountain | Misaligned / dangling | Localised to room | Gardens By The Bay (South) > Outdoor Area > Level 1 > Heritage Garden > Indian Garden |  | 2021-11-30 17:17:20 | 2021-11-30 17:18:43 | 2021-11-30 18:10:26 | 2021-11-30 18:11:01 | 2021-11-30 18:11:32 | 2021-11-30 18:13:46
| FID4054 | Electrical | LED Lights | Flickering / Blown | Localised to room | Gardens By The Bay (South) > Supertree Grove > Level 1 > Male Toilets |  | 2021-11-30 13:23:36 | 2021-11-30 13:23:54 | 2021-11-30 14:09:08 | 2021-11-30 14:09:33 | 2021-11-30 14:09:57 | 2021-11-30 16:07:13
| FID4051 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Localised to room | Gardens By The Bay (South) > Supertree Grove > Level 1 > CO5 |  | 2021-11-30 12:11:10 | 2021-11-30 12:11:27 | 2021-11-30 14:10:29 | 2021-11-30 14:10:42 | 2021-11-30 14:10:56 | 2021-11-30 14:13:42
| FID4050 | Building | Pipe | Other: Water leaking | Affecting Public | Gardens By The Bay (South) > Service Tunnel |  | 2021-11-30 11:56:32 | 2021-11-30 11:57:00 | 2021-11-30 14:02:46 | 2021-11-30 14:03:11 | 2021-11-30 14:03:35 | 2021-11-30 14:08:23
| FID4049 | Building | Carpet | Chipped / Cracked | Localised to room | Gardens By The Bay (South) > Supertree Grove > Level 1 > LG1 > OCBC Skyway |  | 2021-11-30 11:26:25 | 2021-11-30 11:42:54 | 2021-11-30 11:49:41 | 2021-11-30 11:50:18 | 2021-11-30 11:51:55 | 2021-11-30 13:57:22
| FID4044 | Electrical | Miniature Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-30 10:21:29 | 2021-11-30 10:21:49 | 2021-11-30 10:56:06 | 2021-11-30 10:56:21 | 2021-11-30 10:56:35 | 2021-11-30 11:53:14
| FID4041 | Plumbing & Sanitary | Shower Fittings | Other: Handle bar dislodge | Affecting Public | Gardens By The Bay (South) > GBHQ |  | 2021-11-30 09:49:02 | 2021-11-30 09:49:20 | 2021-11-30 10:50:17 | 2021-11-30 10:50:32 | 2021-11-30 11:04:02 | 2021-11-30 11:06:30
| FID4038 | Plumbing & Sanitary | Shower Fittings | Other: Handle bar dislodge | Localised to room | Gardens By The Bay (South) > Meadow |  | 2021-11-30 09:27:15 | 2021-11-30 09:27:32 | 2021-11-30 09:29:02 | 2021-11-30 09:29:15 | 2021-11-30 09:29:30 | 2021-11-30 10:49:21
| FID4035 | Building | Auto Glass Door | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Cloud Forest |  | 2021-11-30 09:20:24 | 2021-11-30 09:20:50 | 2021-11-30 09:24:42 | 2021-11-30 09:25:06 | 2021-11-30 09:25:31 | 2021-11-30 10:44:46
| FID4028 | Mechanical | Fire Alarm / Detection System | System Shows fault / Error code | WIthin Building | Gardens By The Bay (South) > Support Biome |  | 2021-11-30 08:31:05 | 2021-11-30 08:31:36 | 2021-11-30 09:23:09 | 2021-11-30 09:23:41 | 2021-11-30 09:24:04 | 2021-11-30 09:28:06
| FID4024 | Plumbing & Sanitary | Tap | Water flowing non-stop | Affecting Public | Gardens By The Bay (South) > Supertree Grove > Level 1 > Female Toilets |  | 2021-11-29 19:04:07 | 2021-11-29 19:04:30 | 2021-11-30 03:30:21 | 2021-11-30 03:30:39 | 2021-11-30 06:19:34 | 2021-11-30 06:19:58
| FID4023 | Electrical | Miniature Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-29 17:31:28 | 2021-11-29 17:32:08 | 2021-11-29 17:37:27 | 2021-11-29 18:23:36 | 2021-11-29 18:24:01 | 2021-11-29 18:31:02
| FID4022 | Electrical | Miniature Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-29 14:16:14 | 2021-11-29 14:16:31 | 2021-11-29 14:24:39 | 2021-11-29 14:25:03 | 2021-11-29 14:25:34 | 2021-11-29 14:26:35
| FID4021 | Mechanical | Fire Alarm / Detection System | System Shows fault / Error code | Localised to room | Gardens By The Bay (South) > Cloud Forest > Level 1 > Fire Command Centre (Ent 2) |  | 2021-11-29 14:12:50 | 2021-11-29 14:13:12 | 2021-11-29 14:21:58 | 2021-11-29 14:22:26 | 2021-11-29 14:22:51 | 2021-11-29 14:23:59
| FID4020 | Building | Vehicle Barrier System | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Satay By the Bay |  | 2021-11-29 14:02:04 | 2021-11-29 14:02:41 | 2021-11-29 14:18:58 | 2021-11-29 14:19:24 | 2021-11-29 14:19:51 | 2021-11-29 14:24:03
| FID4017 | Plumbing & Sanitary | Tap | No water | Localised to room | Gardens By The Bay (South) > Cloud Forest > Level 1 > Male Toilet |  | 2021-11-29 12:11:45 | 2021-11-29 12:12:05 | 2021-11-29 12:40:51 | 2021-11-29 12:41:05 | 2021-11-29 12:41:31 | 2021-11-29 15:42:25
| FID4015 | Electrical | Light Bulb | Flickering / Blown | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 1 > Visitor Services, Attraction Ops, Ticketing (CD 78) |  | 2021-11-29 11:42:05 | 2021-11-29 11:42:24 | 2021-11-29 12:39:25 | 2021-11-29 12:39:41 | 2021-11-29 12:40:04 | 2021-11-29 12:54:14
| FID4011 | Office and Furniture | Cabinet/Wardrobe/Drawer & lockset | Misaligned / dangling | Localised to room | Gardens By The Bay (South) > Arrival Area > Level 1 > Arrival Gift Shop |  | 2021-11-29 10:45:02 | 2021-11-29 10:45:48 | 2021-11-29 12:37:36 | 2021-11-29 12:38:13 | 2021-11-29 12:38:44 | 2021-11-29 12:44:49
| FID4009 | Building | Door Lock | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Floral Fantasy > Level 1 > All Toilets |  | 2021-11-29 10:17:25 | 2021-11-29 10:17:50 | 2021-11-29 12:33:48 | 2021-11-29 12:35:20 | 2021-11-29 12:36:10 | 2021-11-29 12:42:00
| FID4007 | Mechanical | Rain Curtain | System Shows fault / Error code | Localised to room | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-29 09:57:42 | 2021-11-29 10:08:24 | 2021-11-29 11:05:31 | 2021-11-29 11:06:10 | 2021-11-29 12:32:23 | 2021-11-29 12:43:43
| FID4002 | Building | Door Knob / Handle | Chipped / Cracked | Affecting Public | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-28 17:48:27 | 2021-11-28 17:51:22 | 2021-11-28 19:43:46 | 2021-11-28 19:44:10 | 2021-11-28 19:44:34 | 2021-11-28 19:57:36
| FID4000 | Plumbing & Sanitary | Basin / sink | No water | Affecting Public | Gardens By The Bay (South) > Flower Dome |  | 2021-11-28 14:45:57 | 2021-11-28 15:25:30 | 2021-11-28 15:25:54 | 2021-11-28 15:26:18 | 2021-11-28 15:30:33 | 2021-11-28 16:02:25 |  |  |  |  | 1
| FID3999 | Electrical | LED Lights | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-27 18:18:12 | 2021-11-27 18:45:42 | 2021-11-27 23:01:27 | 2021-11-27 23:02:14 | 2021-11-27 23:04:09 | 2021-11-27 23:05:02
| FID3998 | Mechanical | Lift / Crane Hoist - Passenger / Goods Lift | Chipped / Cracked | Localised to room | Gardens By The Bay (South) > Arrival Area |  | 2021-11-27 17:57:39 | 2021-11-27 18:03:39 | 2021-11-27 18:04:20 | 2021-11-27 22:58:54 | 2021-11-27 22:59:38 | 2021-11-27 23:00:38
| FID3997 | Mechanical | Smoke Detector | Noisy | Localised to room | Gardens By The Bay (South) > Cloud Forest > Level 1 > Fire Command Centre/Security Office (Hub 43) |  | 2021-11-27 16:38:35 | 2021-11-27 16:38:56 | 2021-11-27 16:55:21 | 2021-11-27 16:56:05 | 2021-11-27 16:58:23 | 2021-11-27 17:01:01
| FID3996 | Mechanical | Body Cooling Unit | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Cloud Forest > Level 7 > Cloud Walk |  | 2021-11-27 16:25:34 | 2021-11-27 16:25:56 | 2021-11-27 17:02:05 | 2021-11-27 17:02:40 | 2021-11-27 17:03:18 | 2021-11-27 17:04:21
| FID3995 | Plumbing & Sanitary | Tap | No water | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 1 > Baby Room (CD Exit) |  | 2021-11-27 15:23:45 | 2021-11-27 15:48:04 | 2021-11-27 15:48:21 | 2021-11-27 15:48:37 | 2021-11-27 15:48:49 | 2021-11-27 15:49:46
| FID3994 | Mechanical | Rain Curtain | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-27 14:38:51 | 2021-11-27 14:39:16 | 2021-11-27 15:23:28 | 2021-11-27 15:23:50 | 2021-11-27 15:24:11 | 2021-11-27 15:46:01
| FID3992 | Plumbing & Sanitary | Soap Dispenser | Choked | Localised to room | Gardens By The Bay (South) > Canopy Hub > Level 1 > Male Toilet |  | 2021-11-27 10:29:58 | 2021-11-27 10:32:09 | 2021-11-27 10:36:44 | 2021-11-27 10:37:04 | 2021-11-27 10:37:32 | 2021-11-27 13:45:06
| FID3985 | Electrical | LED Lights | Flickering / Blown | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-26 16:05:16 | 2021-11-26 16:05:37 | 2021-11-26 16:30:05 | 2021-11-26 17:41:53 | 2021-11-26 17:42:16 | 2021-11-26 17:44:25
| FID3983 | Building | Building External Surfaces | Other: Umbrella torn off and discoloured | Localised to room | Gardens By The Bay (South) > Children's Garden |  | 2021-11-26 14:15:54 | 2021-11-26 14:16:20 | 2021-11-26 14:22:42 | 2021-11-26 14:23:20 | 2021-11-26 14:23:48 | 2021-11-26 14:31:47
| FID3982 | Electrical | Light Fitting | Misaligned / dangling | Localised to room | Gardens By The Bay (South) > GBHQ > Level 2 |  | 2021-11-26 14:04:53 | 2021-11-26 14:05:15 | 2021-11-26 14:24:28 | 2021-11-26 14:24:56 | 2021-11-26 14:25:32 | 2021-11-26 14:33:11
| FID3981 | Building | Signage | Paint peeling / stained | Localised to room | Gardens By The Bay (South) > Children's Garden |  | 2021-11-26 14:02:57 | 2021-11-26 14:03:24 | 2021-11-26 14:28:01 | 2021-11-26 14:28:29 | 2021-11-26 14:28:56 | 2021-11-26 14:35:27
| FID3980 | Plumbing & Sanitary | Shower Fittings | Other: Baby changing station buckle missing | Localised to room | Gardens By The Bay (South) > Children's Garden |  | 2021-11-26 13:50:41 | 2021-11-26 13:51:14 | 2021-11-26 14:26:35 | 2021-11-26 14:27:19 | 2021-11-26 14:27:33 | 2021-11-26 14:44:51
| FID3979 | Building | Grab Bar | Misaligned / dangling | Localised to room | Gardens By The Bay (South) > Children's Garden |  | 2021-11-26 13:48:49 | 2021-11-26 13:49:17 | 2021-11-26 14:21:59 | 2021-11-26 14:22:41 | 2021-11-26 14:24:20 | 2021-11-26 14:26:45
| FID3978 | Electrical | Motion Sensor | Phase to phase Fault | Localised to room | Gardens By The Bay (South) > Children's Garden |  | 2021-11-26 13:47:24 | 2021-11-26 13:47:41 | 2021-11-26 14:20:06 | 2021-11-26 14:20:25 | 2021-11-26 14:20:56 | 2021-11-26 14:48:26
| FID3976 | Plumbing & Sanitary | Bidet spray / Hose | Damaged / Loose / Cracked | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-26 13:03:52 | 2021-11-26 13:04:09 | 2021-11-26 14:13:46 | 2021-11-26 14:14:42 | 2021-11-26 14:15:33 | 2021-11-26 14:30:57
| FID3974 | Electrical | Miniature Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Energy Centre |  | 2021-11-26 11:19:49 | 2021-11-26 11:20:10 | 2021-11-26 11:36:33 | 2021-11-26 11:37:07 | 2021-11-26 11:38:08 | 2021-11-26 11:41:44
| FID3972 | Electrical | LED Lights | Flickering / Blown | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-26 10:36:15 | 2021-11-26 10:36:35 | 2021-11-26 10:49:59 | 2021-11-26 10:50:16 | 2021-11-26 10:50:29 | 2021-11-26 11:05:50
| FID3966 | Plumbing & Sanitary | Floor trap | Choked | Localised to room | Gardens By The Bay (South) > Children's Garden |  | 2021-11-26 10:02:36 | 2021-11-26 10:03:26 | 2021-11-26 10:50:55 | 2021-11-26 10:51:14 | 2021-11-26 10:51:27 | 2021-11-26 11:34:24
| FID3959 | Building | Vehicle Barrier System | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-25 20:05:37 | 2021-11-25 20:06:44 | 2021-11-25 23:52:24 | 2021-11-25 23:52:52 | 2021-11-25 23:53:22 | 2021-11-25 23:54:00
| FID3958 | Plumbing & Sanitary | Soap Dispenser | Leaking | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-25 17:15:23 | 2021-11-25 17:15:43 | 2021-11-25 23:42:10 | 2021-11-25 23:42:39 | 2021-11-25 23:42:58 | 2021-11-25 23:49:34
| FID3957 | Electrical | Spike Light | Cracked / damaged | Localised to room | Gardens By The Bay (South) > Serene Garden |  | 2021-11-25 16:38:47 | 2021-11-25 16:39:07 | 2021-11-25 23:32:45 | 2021-11-25 23:33:06 | 2021-11-25 23:33:29 | 2021-11-25 23:36:07
| FID3955 | Plumbing & Sanitary | Urinal | No water | Localised to room | Gardens By The Bay (South) > Children's Garden |  | 2021-11-25 16:07:03 | 2021-11-25 16:07:26 | 2021-11-25 23:29:05 | 2021-11-25 23:29:22 | 2021-11-25 23:29:38 | 2021-11-25 23:31:01
| FID3954 | Plumbing & Sanitary | Basin / sink | No water | Localised to room | Gardens By The Bay (South) > Children's Garden |  | 2021-11-25 16:05:55 | 2021-11-25 16:06:14 | 2021-11-25 23:25:24 | 2021-11-25 23:25:41 | 2021-11-25 23:26:00 | 2021-11-25 23:28:26
| FID3951 | Mechanical | AHU / FCU / CU | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Cloud Forest |  | 2021-11-25 13:56:44 | 2021-11-25 13:59:22 | 2021-11-25 14:38:23 | 2021-11-25 14:38:52 | 2021-11-25 14:39:15 | 2021-11-25 14:41:15
| FID3949 | Electrical | Lamp Post | Cracked / damaged | Localised to room | Gardens By The Bay (South) > Active Garden |  | 2021-11-25 11:39:27 | 2021-11-25 11:39:46 | 2021-11-25 11:51:19 | 2021-11-25 11:51:45 | 2021-11-25 11:52:06 | 2021-11-25 12:52:44
| FID3946 | Electrical | Light Switches | Other: Christmas tree not lighted up | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-25 11:24:46 | 2021-11-25 11:25:04 | 2021-11-25 11:27:51 | 2021-11-25 11:28:34 | 2021-11-25 11:28:58 | 2021-11-25 11:41:52
| FID3935 | Plumbing & Sanitary | Bidet spray / Hose | Leaking | Affecting Public | Gardens By The Bay (South) > Children's Garden |  | 2021-11-24 21:43:43 | 2021-11-24 21:44:06 | 2021-11-24 21:51:13 | 2021-11-24 21:52:24 | 2021-11-24 22:11:49 | 2021-11-24 23:46:56 | [6 empty] | Handicap toilet bidet spray leaking
| FID3932 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-24 17:07:11 | 2021-11-24 17:19:27 | 2021-11-24 17:19:46 | 2021-11-24 17:20:05 | 2021-11-24 17:20:26 | 2021-11-24 17:23:12
| FID3931 | Electrical | Fan | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Children's Garden |  | 2021-11-24 16:24:25 | 2021-11-24 16:24:47 | 2021-11-24 16:39:19 | 2021-11-24 16:39:50 | 2021-11-24 16:41:03 | 2021-11-24 18:20:02
| FID3928 | Plumbing & Sanitary | Bidet spray / Hose | Damaged / Loose / Cracked | Localised to room | Gardens By The Bay (South) > Children's Garden |  | 2021-11-24 14:42:08 | 2021-11-24 14:42:27 | 2021-11-24 16:20:03 | 2021-11-24 16:20:40 | 2021-11-24 16:21:15 | 2021-11-24 16:24:03
| FID3927 | Plumbing & Sanitary | Tap | No water | Localised to room | Gardens By The Bay (South) > Children's Garden |  | 2021-11-24 14:40:52 | 2021-11-24 14:41:09 | 2021-11-24 16:25:16 | 2021-11-24 16:25:48 | 2021-11-24 16:26:18 | 2021-11-24 21:46:47
| FID3926 | Electrical | LED Lights | Flickering / Blown | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-24 14:22:18 | 2021-11-24 14:22:46 | 2021-11-24 16:16:27 | 2021-11-24 16:16:53 | 2021-11-24 16:17:17 | 2021-11-24 16:19:20
| FID3924 | Electrical | LED Lights | Flickering / Blown | Localised to room | Gardens By The Bay (South) > Bayfront |  | 2021-11-24 12:21:55 | 2021-11-24 13:03:38 | 2021-11-24 13:48:25 | 2021-11-24 13:51:29 | 2021-11-24 13:52:01 | 2021-11-24 16:31:15 |  |  |  |  | 1
| FID3918 | Building | Glass Door | Misaligned / dangling | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 3 > Flower Dome Entrance |  | 2021-11-24 11:55:36 | 2021-11-24 11:56:05 | 2021-11-24 13:46:11 | 2021-11-24 13:46:54 | 2021-11-24 13:47:38 | 2021-11-24 16:30:10
| FID3909 | Mechanical | Air Conditioning System | Unserviceable | Affecting Public | Gardens By The Bay (South) > Active Garden > Level 1 > Star Fruit Room(front entrance) |  | 2021-11-24 07:36:26 | 2021-11-24 07:36:50 | 2021-11-24 13:44:46 | 2021-11-24 13:45:12 | 2021-11-24 13:45:39 | 2021-11-24 16:29:02
| FID3908 | Electrical | Bollard Light | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Meadow |  | 2021-11-23 19:17:56 | 2021-11-23 19:18:19 | 2021-11-23 23:31:04 | 2021-11-23 23:33:03 | 2021-11-23 23:33:43 | 2021-11-23 23:35:38
| FID3907 | Plumbing & Sanitary | Tap | Leaking | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 1 > Male Toilet (CD Exit) |  | 2021-11-23 17:08:33 | 2021-11-23 17:09:45 | 2021-11-23 17:13:07 | 2021-11-23 17:15:12 | 2021-11-23 17:28:31 | 2021-11-23 17:29:26
| FID3906 | Plumbing & Sanitary | Tap | No water | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 1 > Male Toilet |  | 2021-11-23 17:07:03 | 2021-11-23 17:07:29 | 2021-11-23 17:44:02 | 2021-11-23 17:44:18 | 2021-11-23 17:44:39 | 2021-11-23 17:45:15
| FID3902 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-23 15:47:25 | 2021-11-23 15:47:45 | 2021-11-23 17:11:36 | 2021-11-23 17:35:26 | 2021-11-23 17:35:43 | 2021-11-23 17:39:55
| FID3900 | Plumbing & Sanitary | Soap Dispenser | Leaking | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 1 > Handicap Toilet (CD Exit) |  | 2021-11-23 15:25:40 | 2021-11-23 15:26:41 | 2021-11-23 17:30:19 | 2021-11-23 17:30:40 | 2021-11-23 17:32:17 | 2021-11-23 17:33:09
| FID3892 | Plumbing & Sanitary | Bidet spray / Hose | Leaking | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-23 11:29:26 | 2021-11-23 11:29:42 | 2021-11-23 13:54:04 | 2021-11-23 13:54:18 | 2021-11-23 13:54:32 | 2021-11-23 14:21:06
| FID3891 | Plumbing & Sanitary | Urinal | No water | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-23 11:27:45 | 2021-11-23 11:28:42 | 2021-11-23 13:52:33 | 2021-11-23 13:53:18 | 2021-11-23 13:53:38 | 2021-11-23 14:22:04
| FID3888 | Plumbing & Sanitary | WC / Squatting Pedestal | Damaged / Loose / Cracked | Localised to room | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-23 10:48:25 | 2021-11-23 10:48:42 | 2021-11-23 11:08:35 | 2021-11-23 11:08:50 | 2021-11-23 11:09:14 | 2021-11-23 14:23:59
| FID3887 | Plumbing & Sanitary | WC / Squatting Pedestal | Water flowing non-stop | Localised to room | Gardens By The Bay (South) > GBHQ > Level 2 > Handicap Toilets |  | 2021-11-23 10:24:49 | 2021-11-23 10:26:43 | 2021-11-23 11:10:02 | 2021-11-23 11:10:21 | 2021-11-23 11:10:30 | 2021-11-23 16:38:32
| FID3884 | Building | Bollard | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Service Tunnel |  | 2021-11-23 10:02:23 | 2021-11-23 10:02:50 | 2021-11-23 11:11:09 | 2021-11-23 11:11:34 | 2021-11-23 11:11:57 | 2021-11-23 13:51:43
| FID3876 | Building | Door Lock | Misaligned / dangling | Localised to room | Gardens By The Bay (South) > GBHQ > Level 1 > Main Entrance |  | 2021-11-23 00:19:29 | 2021-11-23 00:22:02 | 2021-11-23 01:08:01 | 2021-11-23 01:08:28 | 2021-11-23 01:08:53 | 2021-11-23 01:43:40
| FID3874 | Mechanical | Water Fountain | Unserviceable | Localised to room | Gardens By The Bay (South) > Cloud Forest > Basement > Water Feature Plant Room (CM20) |  | 2021-11-22 16:55:28 | 2021-11-22 16:57:34 | 2021-11-22 17:47:15 | 2021-11-22 17:47:57 | 2021-11-22 17:48:35 | 2021-11-22 17:50:25
| FID3871 | Building | Vehicle Barrier System | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Bayfront |  | 2021-11-22 15:40:16 | 2021-11-22 15:40:47 | 2021-11-22 17:55:22 | 2021-11-22 17:56:03 | 2021-11-22 17:56:47 | 2021-11-22 17:57:57
| FID3870 | Building | Floor | Chipped / Cracked | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-22 15:06:19 | 2021-11-22 15:07:25 | 2021-11-22 15:07:59 | 2021-11-22 15:08:33 | 2021-11-22 15:08:59 | 2021-11-22 15:12:09
| FID3861 | Building | Vehicle Barrier System | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Service Tunnel |  | 2021-11-22 09:34:35 | 2021-11-22 09:52:09 | 2021-11-22 10:15:22 | 2021-11-22 10:15:50 | 2021-11-22 10:16:19 | 2021-11-22 10:47:02
| FID3855 | Plumbing & Sanitary | Urinal | Choked | Affecting Public | Gardens By The Bay (South) > Arrival Area |  | 2021-11-21 20:31:05 | 2021-11-21 20:32:46 | 2021-11-21 22:06:47 | 2021-11-21 22:08:20 | 2021-11-21 22:08:42 | 2021-11-21 22:14:14
| FID3854 | Mechanical | Exhaust System | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-21 20:14:33 | 2021-11-21 20:33:54 | 2021-11-21 20:34:38 | 2021-11-22 15:12:57 | 2021-11-22 15:13:41 | 2021-11-22 15:16:02 |  |  |  |  | 1
| FID3853 | Building | Door Knob / Handle | Other: Door handle loose | Affecting Public | Gardens By The Bay (South) > Canopy Hub |  | 2021-11-21 16:16:45 | 2021-11-21 18:17:56 | 2021-11-21 18:18:27 | 2021-11-21 18:19:33 | 2021-11-21 18:20:06 | 2021-11-21 18:24:01 |  |  |  |  | 1
| FID3852 | Building Security System | General Building Security System | Other: Bollard is not function | Affecting Public | Gardens By The Bay (South) > Service Tunnel |  | 2021-11-21 14:23:09 | 2021-11-21 14:23:40 | 2021-11-21 14:24:17 | 2021-11-21 14:24:32 | 2021-11-21 14:24:47 | 2021-11-21 14:26:08
| FID3851 | Building | Door Lock | Other: Request to close the door. Do not off the fan | Localised to room | Gardens By The Bay (South) > Bayfront |  | 2021-11-21 13:29:50 | 2021-11-21 13:35:56 | 2021-11-21 13:36:30 | 2021-11-21 13:36:54 | 2021-11-21 13:37:20 | 2021-11-21 13:51:55 |  |  |  |  | 1
| FID3847 | Electrical | LED Lights | Flickering / Blown | Affecting Public | Gardens By The Bay (South) > Arrival Area |  | 2021-11-21 10:57:27 | 2021-11-21 10:59:14 | 2021-11-21 10:59:40 | 2021-11-21 11:00:04 | 2021-11-21 11:00:31 | 2021-11-21 11:04:39
| FID3846 | Building | Water Dispenser | Other: No water | Affecting Public | Gardens By The Bay (South) > Arrival Area |  | 2021-11-21 10:54:50 | 2021-11-21 10:55:18 | 2021-11-21 10:56:53 | 2021-11-21 10:57:53 | 2021-11-21 10:57:58 | 2021-11-21 10:59:05
| FID3845 | Plumbing & Sanitary | Bidet spray / Hose | Damaged / Loose / Cracked | Affecting Public | Gardens By The Bay (South) > Canopy Hub |  | 2021-11-21 10:53:09 | 2021-11-21 10:54:42 | 2021-11-21 10:55:28 | 2021-11-21 10:55:48 | 2021-11-21 10:56:03 | 2021-11-21 10:57:02
| FID3844 | Mechanical | Kitchen Exhaust Hood System | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-21 10:23:05 | 2021-11-21 10:47:45 | 2021-11-21 10:48:07 | 2021-11-21 10:48:45 | 2021-11-21 10:49:15 | 2021-11-21 10:50:16 |  |  |  |  | 1
| FID3842 | Electrical | Earth-leakage Circuit Breaker | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-21 07:50:36 | 2021-11-21 07:50:59 | 2021-11-21 07:51:18 | 2021-11-21 07:51:39 | 2021-11-21 07:51:56 | 2021-11-21 07:53:35 | [6 empty] | Floral Fantasy 40A RCCB tripped check and found circuit 5L1 cause RCCB trip now 5L1 circuit turned off and RCCB reseted.
| FID3841 | Mechanical | Lift / Crane Hoist - Passenger / Goods Lift | Unserviceable | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-21 07:44:03 | 2021-11-21 07:44:27 | 2021-11-21 07:44:49 | 2021-11-21 07:45:08 | 2021-11-21 07:45:29 | 2021-11-21 07:49:40
| FID3840 | Electrical | Light Bulb | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-20 19:55:45 | 2021-11-20 19:56:39 | 2021-11-20 20:03:49 | 2021-11-20 20:04:14 | 2021-11-20 20:11:22 | 2021-11-20 20:12:48 | [6 empty] | Skywalk LG1 outside lights not lighted
| FID3839 | Mechanical | Lift System | Unserviceable | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-20 17:38:14 | 2021-11-20 17:42:23 | 2021-11-20 17:51:29 | 2021-11-20 17:51:15 | 2021-11-20 17:51:39 | 2021-11-20 17:54:23
| FID3838 | Plumbing & Sanitary | Tap | Damaged / Loose / Cracked | Localised to room | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-20 12:11:02 | 2021-11-20 12:24:30 | 2021-11-20 13:50:01 | 2021-11-20 13:50:19 | 2021-11-20 13:50:29 | 2021-11-20 14:22:35
| FID3837 | Building | Window Lock | Chipped / Cracked | Localised to room | Gardens By The Bay (South) > Meadow |  | 2021-11-20 11:56:31 | 2021-11-20 11:58:16 | 2021-11-20 13:47:49 | 2021-11-20 13:48:14 | 2021-11-20 13:49:27 | 2021-11-20 13:53:16
| FID3836 | Plumbing & Sanitary | Flush Button | Damaged / Loose / Cracked | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 1 > Flower Field Hall |  | 2021-11-20 11:34:28 | 2021-11-20 11:52:34 | 2021-11-20 11:55:17 | 2021-11-20 11:55:33 | 2021-11-20 11:55:38 | 2021-11-20 12:00:22
| FID3833 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-20 11:09:31 | 2021-11-20 11:09:50 | 2021-11-20 11:54:16 | 2021-11-20 11:54:35 | 2021-11-20 11:54:50 | 2021-11-20 12:01:31
| FID3831 | Building | Vehicle Barrier System | Other: Error - Printer error | Affecting Public | Gardens By The Bay (South) > Satay by the Garden |  | 2021-11-19 20:25:29 | 2021-11-19 20:26:05 | 2021-11-19 23:21:04 | 2021-11-19 23:21:43 | 2021-11-19 23:23:03 | 2021-11-19 23:24:26
| FID3830 | Building Security System | CCTV System | Other: LG1 Top camera Not working | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-19 19:02:10 | 2021-11-19 19:12:04 | 2021-11-19 19:26:44 | 2021-11-19 19:27:13 | 2021-11-19 19:27:42 | 2021-11-19 19:29:00
| FID3829 | Electrical | LED Lights | Flickering / Blown | Localised to room | Gardens By The Bay (South) > Canopy Hub |  | 2021-11-19 14:51:20 | 2021-11-19 14:51:44 | 2021-11-19 17:35:08 | 2021-11-19 17:35:41 | 2021-11-19 17:39:22 | 2021-11-19 17:41:54
| FID3828 | Electrical | Fan | Other: Oil leak | Affecting Public | Gardens By The Bay (South) > Canopy Hub > Level 1 |  | 2021-11-19 14:48:48 | 2021-11-19 14:50:03 | 2021-11-19 17:29:53 | 2021-11-19 17:32:25 | 2021-11-19 17:32:54 | 2021-11-19 17:34:27
| FID3827 | Building | Wall | Chipped / Cracked | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 3 > Flower Dome Entrance |  | 2021-11-19 14:46:12 | 2021-11-19 14:46:38 | 2021-11-19 17:21:39 | 2021-11-19 18:39:50 | 2021-11-19 18:40:28 | 2021-11-19 18:43:10
| FID3826 | Plumbing & Sanitary | Hand Dryer | Other: On and off. just running by itself. | Localised to room | Gardens By The Bay (South) > Cloud Forest > Level 1 |  | 2021-11-19 14:44:18 | 2021-11-19 14:44:35 | 2021-11-19 17:16:39 | 2021-11-19 17:17:00 | 2021-11-19 17:18:02 | 2021-11-19 17:20:20
| FID3825 | Plumbing & Sanitary | Tap | No water | Localised to room | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-19 13:34:18 | 2021-11-19 13:40:26 | 2021-11-19 14:36:41 | 2021-11-19 14:36:58 | 2021-11-19 14:37:20 | 2021-11-19 14:43:03
| FID3819 | Building | Pipe | Other: Water leaking | Localised to room | Gardens By The Bay (South) > Support Biome |  | 2021-11-19 09:36:52 | 2021-11-19 09:37:20 | 2021-11-19 14:39:30 | 2021-11-19 14:39:55 | 2021-11-19 14:40:21 | 2021-11-19 14:42:03
| FID3816 | Electrical | Miniature Circuit Breaker | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Carparks |  | 2021-11-19 07:11:13 | 2021-11-19 07:11:49 | 2021-11-19 07:35:32 | 2021-11-19 07:35:53 | 2021-11-19 07:36:38 | 2021-11-19 08:19:17 | [6 empty] | Main Entrance Carpark signage power tripped,Found 40A RCCB tripped now reset RCCB and back to normal
| FID3812 | Electrical | Light Fitting | Misaligned / dangling | Affecting Public | Gardens By The Bay (South) > Service Tunnel |  | 2021-11-18 19:34:18 | 2021-11-18 19:34:41 | 2021-11-18 21:48:26 | 2021-11-18 21:49:01 | 2021-11-18 21:49:42 | 2021-11-18 21:51:21 | [6 empty] | Mickey mouse emergency lights dropped
| FID3810 | Building | Bollard | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Service Tunnel |  | 2021-11-18 17:01:03 | 2021-11-18 17:17:20 | 2021-11-18 18:53:57 | 2021-11-18 18:54:25 | 2021-11-18 18:55:31 | 2021-11-18 18:56:54
| FID3808 | Mechanical | Air Conditioning System | Leaking / Condensation | Localised to room | Gardens By The Bay (South) > Arrival Area > Level 1 > Arrival Gift Shop |  | 2021-11-18 14:55:53 | 2021-11-18 14:56:18 | 2021-11-18 17:15:03 | 2021-11-18 17:15:32 | 2021-11-18 17:15:57 | 2021-11-18 17:19:51
| FID3807 | Plumbing & Sanitary | Flush Button | Water flowing non-stop | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-18 14:49:49 | 2021-11-18 15:03:49 | 2021-11-18 17:11:16 | 2021-11-18 17:11:40 | 2021-11-18 17:12:01 | 2021-11-18 17:14:00
| FID3803 | Electrical | Service Outlet Box | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Energy Centre |  | 2021-11-18 11:03:27 | 2021-11-18 11:05:04 | 2021-11-18 11:34:26 | 2021-11-18 11:35:43 | 2021-11-18 11:36:16 | 2021-11-18 11:57:43
| FID3801 | Building | Drain | Other: Water ponding | Localised to room | Gardens By The Bay (South) > Arrival Area |  | 2021-11-18 10:03:32 | 2021-11-18 10:04:15 | 2021-11-18 11:32:51 | 2021-11-18 11:33:17 | 2021-11-18 11:33:45 | 2021-11-18 11:56:12
| FID3798 | Building | Ceiling | Other: Water leaking | Localised to room | Gardens By The Bay (South) > Arrival Area > Level 1 > Arrival Gift Shop |  | 2021-11-18 09:35:04 | 2021-11-18 09:43:27 | 2021-11-18 11:31:04 | 2021-11-18 11:31:36 | 2021-11-18 11:32:01 | 2021-11-18 11:41:47
| FID3791 | Building | Vehicle Barrier System | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > Carparks |  | 2021-11-18 06:01:34 | 2021-11-18 06:02:02 | 2021-11-18 06:54:23 | 2021-11-18 06:55:46 | 2021-11-18 06:56:10 | 2021-11-18 06:57:51 | [6 empty] | Meadow carpark Entry & Exit bariier rise up automatically
| FID3790 | Building | Vehicle Barrier System | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > Carparks |  | 2021-11-18 02:07:01 | 2021-11-18 02:07:38 | 2021-11-18 02:15:21 | 2021-11-18 02:15:50 | 2021-11-18 02:16:16 | 2021-11-18 02:27:37
| FID3788 | Electrical | Earth-leakage Circuit Breaker | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Flower Dome > Level 1 |  | 2021-11-17 21:36:20 | 2021-11-17 21:36:58 | 2021-11-17 21:40:36 | 2021-11-17 21:41:06 | 2021-11-17 21:41:35 | 2021-11-17 21:43:32
| FID3775 | Building | Vehicle Barrier System | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Satay by the Garden |  | 2021-11-17 15:30:13 | 2021-11-17 15:30:45 | 2021-11-17 15:43:09 | 2021-11-17 15:43:39 | 2021-11-17 15:44:09 | 2021-11-17 17:25:05
| FID3774 | Electrical | Miniature Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-17 15:27:28 | 2021-11-17 15:28:23 | 2021-11-17 15:41:46 | 2021-11-17 15:42:12 | 2021-11-17 15:42:33 | 2021-11-17 17:23:01
| FID3770 | Building | Door Closer | Missing | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 2 > Magolia Room (CD 94) |  | 2021-11-17 14:17:46 | 2021-11-17 14:23:55 | 2021-11-17 14:29:57 | 2021-11-17 14:30:31 | 2021-11-17 14:31:18 | 2021-11-17 14:32:44
| FID3763 | Mechanical | Rain Curtain | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-17 10:04:50 | 2021-11-17 10:05:11 | 2021-11-17 12:20:38 | 2021-11-17 12:20:57 | 2021-11-17 12:21:27 | 2021-11-17 12:22:10
| FID3758 | Electrical | Miniature Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Canopy Hub > Level 3 > Visitors' Support Office(VSO) |  | 2021-11-17 09:11:16 | 2021-11-17 09:11:43 | 2021-11-17 12:05:16 | 2021-11-17 12:05:34 | 2021-11-17 12:05:52 | 2021-11-17 12:07:55
| FID3757 | Building Security System | CCTV System | Other: Disconnected | Affecting Public | Gardens By The Bay (South) > Cloud Forest |  | 2021-11-17 08:39:06 | 2021-11-17 09:47:42 | 2021-11-17 12:09:49 | 2021-11-17 12:10:08 | 2021-11-17 12:10:27 | 2021-11-17 12:12:13 |  |  |  |  | 1
| FID3756 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-17 08:36:28 | 2021-11-17 09:48:03 | 2021-11-17 11:52:37 | 2021-11-17 11:54:04 | 2021-11-17 11:55:21 | 2021-11-17 12:20:04 |  |  |  |  | 1
| FID3745 | Cleaning | Exterior | Other: Old Signage take out | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 |  | 2021-11-16 13:12:06 | 2021-11-16 13:12:27 | 2021-11-16 13:45:53 | 2021-11-16 13:51:46 | 2021-11-16 13:52:02 | 2021-11-16 13:52:42
| FID3744 | Electrical | Earth-leakage Circuit Breaker | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Flower Dome |  | 2021-11-16 12:57:37 | 2021-11-16 12:58:01 | 2021-11-16 13:06:39 | 2021-11-16 13:07:14 | 2021-11-16 13:08:55 | 2021-11-16 13:09:51
| FID3743 | Building | Door Lock | Misaligned / dangling | Affecting Public | Gardens By The Bay (South) > Bayfront |  | 2021-11-16 11:50:24 | 2021-11-16 11:50:57 | 2021-11-16 12:04:22 | 2021-11-16 12:05:07 | 2021-11-16 12:05:49 | 2021-11-16 12:07:29
| FID3742 | Electrical | Light Driver / Ballast | Flickering / Blown | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-16 11:11:38 | 2021-11-16 11:12:00 | 2021-11-16 13:49:57 | 2021-11-16 13:50:27 | 2021-11-16 13:54:05 | 2021-11-16 13:56:37
| FID3737 | Mechanical | Lift / Crane Hoist - Passenger / Goods Lift | Unserviceable | WIthin Building | Gardens By The Bay (South) > Flower Dome > Level 3 > Flower Dome Entrance |  | 2021-11-16 09:30:51 | 2021-11-16 09:31:14 | 2021-11-16 13:02:29 | 2021-11-16 13:02:55 | 2021-11-16 13:04:11 | 2021-11-16 13:05:10
| FID3731 | Plumbing & Sanitary | Tap | Water flowing non-stop | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 > Male Toilet |  | 2021-11-15 19:45:08 | 2021-11-15 19:45:38 | 2021-11-15 20:00:50 | 2021-11-15 22:52:27 | 2021-11-15 22:52:53 | 2021-11-15 22:55:15
| FID3730 | Plumbing & Sanitary | Soap Dispenser | Damaged / Loose / Cracked | WIthin Building | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-15 18:22:57 | 2021-11-15 18:23:43 | 2021-11-15 19:16:52 | 2021-11-15 19:17:19 | 2021-11-15 19:17:40 | 2021-11-15 19:22:35
| FID3727 | Electrical | Earth-leakage Circuit Breaker | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-15 16:06:26 | 2021-11-15 16:06:46 | 2021-11-15 17:34:25 | 2021-11-15 17:35:05 | 2021-11-15 17:35:30 | 2021-11-15 17:38:50
| FID3725 | Building Security System | Door Access | Other: Handicap Toilet some one accidentally press the emergency button | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-15 15:30:33 | 2021-11-15 15:30:50 | 2021-11-15 15:43:28 | 2021-11-15 15:43:58 | 2021-11-15 15:44:13 | 2021-11-15 15:44:54
| FID3723 | Building | Bollard | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-15 11:46:14 | 2021-11-15 11:46:43 | 2021-11-15 12:36:19 | 2021-11-15 12:37:01 | 2021-11-15 12:37:29 | 2021-11-15 15:33:02
| FID3722 | Building | Window Blind/Curtain | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > Cloud Forest |  | 2021-11-15 11:20:29 | 2021-11-15 11:21:00 | 2021-11-15 12:33:51 | 2021-11-15 12:34:20 | 2021-11-15 12:35:27 | 2021-11-15 12:43:52
| FID3721 | Mechanical | Pump | Unserviceable | Affecting Public | Gardens By The Bay (South) > Cloud Forest |  | 2021-11-15 10:52:35 | 2021-11-15 10:52:56 | 2021-11-15 12:32:27 | 2021-11-15 12:32:53 | 2021-11-15 12:33:19 | 2021-11-15 12:42:49
| FID3720 | Mechanical | Air Conditioning System | Too hot / Too cold | WIthin Building | Gardens By The Bay (South) > Support Biome |  | 2021-11-15 10:41:23 | 2021-11-15 10:41:48 | 2021-11-15 12:30:55 | 2021-11-15 12:31:23 | 2021-11-15 12:31:48 | 2021-11-15 12:41:44
| FID3707 | Mechanical | Exhaust System | Other: Exhaust fan running | Affecting Public | Gardens By The Bay (South) > Service Tunnel |  | 2021-11-14 18:55:19 | 2021-11-14 18:55:40 | 2021-11-14 23:36:12 | 2021-11-14 23:39:20 | 2021-11-14 23:39:41 | 2021-11-14 23:40:07
| FID3706 | Building Security System | General Building Security System | Misalignment / Loose / Removed / Improper / smelly | Whole Building | Gardens By The Bay (South) > Cloud Forest > Level 5 |  | 2021-11-14 18:48:50 | 2021-11-14 18:49:10 | 2021-11-14 23:34:01 | 2021-11-14 23:34:24 | 2021-11-14 23:34:48 | 2021-11-14 23:37:43 | [6 empty] | Fire alarm Activated
| FID3705 | Cleaning | Exterior | Other: Escorting Nanotech Cleaning (S) Pte. Ltd | Affecting Public | Gardens By The Bay (South) |  | 2021-11-14 12:28:45 | 2021-11-14 12:29:03 | 2021-11-14 12:34:22 | 2021-11-14 13:06:51 | 2021-11-14 13:07:41 | 2021-11-14 18:56:23 | [6 empty] | Escorting Nanotech Cleaning (S) Pte. Ltd
| FID3704 | Plumbing & Sanitary | Water Pipe | Leaking | Affecting Public | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-14 11:53:42 | 2021-11-14 11:54:33 | 2021-11-14 12:32:27 | 2021-11-14 12:32:57 | 2021-11-14 12:33:30 | 2021-11-14 13:44:38 | [6 empty] | Near colonial
| FID3703 | Mechanical | Lift / Crane Hoist - Passenger / Goods Lift | Missing | Affecting Public | Gardens By The Bay (South) > Carparks |  | 2021-11-14 11:11:20 | 2021-11-14 11:12:24 | 2021-11-14 11:15:14 | 2021-11-14 12:30:09 | 2021-11-14 12:30:43 | 2021-11-14 12:31:34 | [6 empty] | CP-L1 R button missing
| FID3699 | Electrical | Lamp Post | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Silver Garden |  | 2021-11-13 19:34:43 | 2021-11-13 19:35:12 | 2021-11-13 22:32:26 | 2021-11-13 22:32:48 | 2021-11-13 22:33:09 | 2021-11-13 22:33:36
| FID3697 | Building | Door Lock | Unserviceable | Affecting Public | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-13 15:17:44 | 2021-11-13 15:18:14 | 2021-11-13 22:31:59 | 2021-11-13 22:34:03 | 2021-11-13 22:34:25 | 2021-11-13 22:36:09
| FID3694 | Building | Door Closer | Unserviceable | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 |  | 2021-11-13 10:30:58 | 2021-11-13 10:31:28 | 2021-11-13 12:21:42 | 2021-11-13 12:22:17 | 2021-11-13 12:22:53 | 2021-11-13 12:23:59
| FID3687 | Electrical | Earth-leakage Circuit Breaker | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Active Garden |  | 2021-11-12 22:13:07 | 2021-11-12 22:53:25 | 2021-11-12 23:05:16 | 2021-11-12 23:05:39 | 2021-11-12 23:20:36 | 2021-11-12 23:22:07 |  |  |  |  | 1
| FID3686 | Electrical | Lamp Post | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-12 19:32:49 | 2021-11-12 19:33:15 | 2021-11-12 19:40:56 | 2021-11-12 19:41:16 | 2021-11-12 19:41:37 | 2021-11-12 19:42:24 | [6 empty] | Silver garden to pollen
| FID3685 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-12 19:18:36 | 2021-11-12 19:21:23 | 2021-11-12 23:00:01 | 2021-11-12 23:01:05 | 2021-11-12 23:03:03 | 2021-11-12 23:04:38 | [6 empty] | Web of life location
| FID3680 | Building | Carpet | Misaligned / dangling | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-12 14:01:02 | 2021-11-12 14:03:15 | 2021-11-12 14:24:22 | 2021-11-12 14:24:56 | 2021-11-12 14:25:20 | 2021-11-12 14:28:32 | [6 empty] | LG1
| FID3677 | Electrical | Light Driver / Ballast | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Meadow |  | 2021-11-12 11:02:24 | 2021-11-12 11:02:47 | 2021-11-12 17:19:33 | 2021-11-12 17:20:05 | 2021-11-12 17:20:29 | 2021-11-12 17:21:52
| FID3672 | Mechanical | Pump | Unserviceable | Affecting Public | Gardens By The Bay (South) > Cloud Forest |  | 2021-11-12 09:31:52 | 2021-11-12 09:32:23 | 2021-11-12 09:58:52 | 2021-11-12 09:59:26 | 2021-11-12 09:59:49 | 2021-11-12 10:03:19
| FID3670 | Electrical | Screen / Projector | Other: Galaxy scanner tablet not working | Affecting Public | Gardens By The Bay (South) > Flower Dome |  | 2021-11-12 09:17:15 | 2021-11-12 09:53:11 | 2021-11-12 09:53:53 | 2021-11-12 09:54:21 | 2021-11-12 09:54:56 | 2021-11-12 09:55:54 |  |  |  |  | 1
| FID3666 | Mechanical | Air Conditioning System | Other: Air-con not working | Localised to room | Gardens By The Bay (South) > Active Garden |  | 2021-11-12 08:29:23 | 2021-11-12 09:45:55 | 2021-11-12 09:46:43 | 2021-11-12 09:48:30 | 2021-11-12 09:51:26 | 2021-11-12 09:52:15 |  |  |  |  | 1
| FID3663 | Mechanical | Air Conditioning System | Leaking / Condensation | Affecting Public | Gardens By The Bay (South) > Canopy Hub > Level 3 > Visitor Services Centre |  | 2021-11-11 19:29:39 | 2021-11-11 19:30:05 | 2021-11-11 23:13:26 | 2021-11-11 23:13:56 | 2021-11-11 23:14:37 | 2021-11-11 23:15:32
| FID3662 | Electrical | Cable and Trunking | Unserviceable | Affecting Public | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-11 19:27:48 | 2021-11-11 19:28:11 | 2021-11-11 23:16:48 | 2021-11-11 23:20:03 | 2021-11-11 23:21:03 | 2021-11-11 23:23:32
| FID3659 | Electrical | Socket | Unserviceable | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 |  | 2021-11-11 17:18:44 | 2021-11-11 17:19:07 | 2021-11-11 17:35:38 | 2021-11-11 17:36:01 | 2021-11-11 17:36:28 | 2021-11-11 17:37:33 | [6 empty] | Arrival Locker Unserviceable
| FID3655 | Electrical | Light Fitting | Other: Not lighted up | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 | approved | 2021-11-11 16:09:47 | 2021-11-11 16:10:12 | [10 empty] | Arrival Locker
| FID3653 | Office and Furniture | TV | Chipped / Cracked | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-11 15:30:48 | 2021-11-11 16:10:43 | 2021-11-11 18:07:55 | 2021-11-11 18:08:19 | 2021-11-11 18:08:43 | 2021-11-11 18:09:42
| FID3652 | Plumbing & Sanitary | Soap Dispenser | Choked | Affecting Public | Gardens By The Bay (South) > Active Garden > Level 1 > Female toilet |  | 2021-11-11 15:16:20 | 2021-11-11 15:16:44 | 2021-11-11 15:28:29 | 2021-11-11 15:28:46 | 2021-11-11 15:29:09 | 2021-11-11 15:30:27
| FID3651 | Building | Bollard | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-11 14:52:41 | 2021-11-11 14:58:30 | 2021-11-11 15:22:11 | 2021-11-11 15:22:59 | 2021-11-11 15:27:16 | 2021-11-11 15:32:46
| FID3645 | Plumbing & Sanitary | Tap | Leaking | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 > Male Toilet |  | 2021-11-11 13:38:41 | 2021-11-11 13:39:03 | 2021-11-11 13:56:18 | 2021-11-11 13:56:35 | 2021-11-11 13:56:52 | 2021-11-11 13:58:03
| FID3644 | Plumbing & Sanitary | Tap | Leaking | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 > Male Toilet |  | 2021-11-11 11:54:21 | 2021-11-11 11:54:41 | 2021-11-11 13:14:49 | 2021-11-11 13:15:09 | 2021-11-11 13:15:41 | 2021-11-11 13:18:26 | [6 empty] | Arrival male toilet WC1 water leaking
| FID3635 | Electrical | Light Fitting | Unserviceable | WIthin Building | Gardens By The Bay (South) > Flower Dome > Level 1 |  | 2021-11-11 10:09:04 | 2021-11-11 10:10:04 | 2021-11-11 10:28:14 | 2021-11-11 10:28:33 | 2021-11-11 11:12:17 | 2021-11-11 11:12:47 | [6 empty] | Pollen Fire Exit staircase
| FID3634 | Electrical | Bollard Light | Misaligned / dangling | Affecting Public | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-11 09:43:11 | 2021-11-11 09:43:34 | 2021-11-11 10:15:38 | 2021-11-11 10:16:00 | 2021-11-11 10:16:23 | 2021-11-11 10:17:26
| FID3630 | Electrical | Fan | Other: Need to spray paint | Localised to room | Gardens By The Bay (South) > Arrival Area |  | 2021-11-10 17:05:47 | 2021-11-10 17:06:25 | 2021-11-10 17:12:36 | 2021-11-10 17:13:13 | 2021-11-10 17:13:36 | 2021-11-10 17:36:45
| FID3626 | Electrical | HTLV | Cracked / damaged | Localised to room | Gardens By The Bay (South) > Meadow |  | 2021-11-10 14:41:07 | 2021-11-10 14:44:43 | 2021-11-10 14:45:14 | 2021-11-10 14:45:40 | 2021-11-10 14:46:18 | 2021-11-10 15:07:52
| FID3625 | Building | Vehicle Traffic Signal | Misaligned / dangling | Localised to room | Gardens By The Bay (South) > Bayfront |  | 2021-11-10 14:34:21 | 2021-11-10 14:35:37 | 2021-11-10 14:48:30 | 2021-11-10 14:49:06 | 2021-11-10 14:49:42 | 2021-11-10 15:09:14
| FID3624 | Electrical | HTLV | Cracked / damaged | Localised to room | Gardens By The Bay (South) > Bayfront |  | 2021-11-10 14:20:40 | 2021-11-10 14:21:15 | 2021-11-10 14:31:41 | 2021-11-10 14:32:07 | 2021-11-10 14:32:28 | 2021-11-10 14:47:33
| FID3622 | Plumbing & Sanitary | Soap Dispenser | Other: Tissue dispenser not working | Affecting Public | Gardens By The Bay (South) > GBHQ |  | 2021-11-10 12:51:55 | 2021-11-10 12:52:24 | 2021-11-10 15:10:21 | 2021-11-10 15:10:59 | 2021-11-10 15:12:33 | 2021-11-10 15:14:04
| FID3619 | Mechanical | Air Conditioning System | Too hot / Too cold | Localised to room | Gardens By The Bay (South) > Satay by the Garden |  | 2021-11-10 11:04:25 | 2021-11-10 11:05:20 | 2021-11-10 11:13:29 | 2021-11-10 11:14:16 | 2021-11-10 11:14:44 | 2021-11-10 13:01:30
| FID3615 | Mechanical | Lift System | System Shows fault / Error code | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-10 09:33:43 | 2021-11-10 09:34:24 | 2021-11-10 11:11:49 | 2021-11-10 11:12:15 | 2021-11-10 11:12:48 | 2021-11-10 11:16:47
| FID3614 | Electrical | Socket | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-10 09:31:03 | 2021-11-10 09:31:26 | 2021-11-10 11:09:43 | 2021-11-10 11:10:16 | 2021-11-10 11:11:09 | 2021-11-10 11:15:56
| FID3610 | Building | Pipe | Other: Leaking | Localised to room | Gardens By The Bay (South) > Arrival Area |  | 2021-11-10 09:07:07 | 2021-11-10 09:08:23 | 2021-11-10 09:22:35 | 2021-11-10 09:23:07 | 2021-11-10 09:23:35 | 2021-11-10 11:08:15
| FID3608 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Localised to room | Gardens By The Bay (South) > Cloud Forest |  | 2021-11-10 09:04:41 | 2021-11-10 09:05:01 | 2021-11-10 09:19:25 | 2021-11-10 09:19:56 | 2021-11-10 09:21:35 | 2021-11-10 11:07:17
| FID3605 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-09 19:17:41 | 2021-11-09 19:18:19 | 2021-11-09 22:42:07 | 2021-11-09 22:42:49 | 2021-11-09 22:43:14 | 2021-11-09 22:44:27 | [6 empty] | LG3 ST LAWN cctv disconnected
| FID3600 | Mechanical | Pump | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-09 15:45:53 | 2021-11-09 15:47:49 | 2021-11-09 16:09:44 | 2021-11-09 16:10:51 | 2021-11-09 16:11:18 | 2021-11-09 16:17:09
| FID3596 | Building | Door Closer | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 2 |  | 2021-11-09 13:51:20 | 2021-11-09 13:53:10 | 2021-11-09 14:37:04 | 2021-11-09 14:37:55 | 2021-11-09 14:38:21 | 2021-11-09 14:40:46
| FID3595 | Building | Vehicle Barrier System | Other: Error 'loop a hang' | Localised to room | Gardens By The Bay (South) > Carparks |  | 2021-11-09 13:04:36 | 2021-11-09 13:06:23 | 2021-11-09 14:27:02 | 2021-11-09 14:27:29 | 2021-11-09 14:27:54 | 2021-11-09 14:31:39
| FID3594 | Plumbing & Sanitary | WC / Squatting Pedestal | Damaged / Loose / Cracked | Localised to room | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-09 12:41:10 | 2021-11-09 12:42:37 | 2021-11-09 14:23:29 | 2021-11-09 14:24:44 | 2021-11-09 14:25:06 | 2021-11-09 14:26:22
| FID3583 | Building | Building External Surfaces | Chipped / Cracked | Localised to room | Gardens By The Bay (South) > Arrival Area |  | 2021-11-09 10:25:18 | 2021-11-09 10:26:57 | 2021-11-09 11:27:16 | 2021-11-09 11:27:43 | 2021-11-09 11:28:08 | 2021-11-09 11:30:54
| FID3582 | Building | Bollard | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Service Tunnel |  | 2021-11-09 09:40:41 | 2021-11-09 09:41:12 | 2021-11-09 11:23:08 | 2021-11-09 11:23:32 | 2021-11-09 11:24:11 | 2021-11-09 11:26:41
| FID3581 | Building | Glass Door | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Cloud Forest > Level 1 > Cloud Forest Entrance |  | 2021-11-09 09:38:20 | 2021-11-09 09:38:50 | 2021-11-09 10:09:30 | 2021-11-09 10:10:08 | 2021-11-09 10:10:41 | 2021-11-09 10:41:54
| FID3576 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Affecting Public | Gardens By The Bay (South) > Cloud Forest > Level 1 |  | 2021-11-08 20:49:11 | 2021-11-08 20:49:35 | 2021-11-08 23:00:05 | 2021-11-08 23:01:55 | 2021-11-08 23:03:14 | 2021-11-08 23:07:00
| FID3575 | Plumbing & Sanitary | Urinal | Water flowing non-stop | Localised to room | Gardens By The Bay (South) > GBHQ |  | 2021-11-08 18:21:02 | 2021-11-08 18:21:38 | 2021-11-08 22:35:34 | 2021-11-08 22:35:58 | 2021-11-08 22:36:23 | 2021-11-08 22:37:14
| FID3569 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Localised to room | Gardens By The Bay (South) > Cloud Forest |  | 2021-11-08 11:59:35 | 2021-11-08 12:00:37 | 2021-11-08 13:56:56 | 2021-11-08 13:57:25 | 2021-11-08 13:57:49 | 2021-11-08 13:58:22
| FID3568 | Plumbing & Sanitary | Soap Dispenser | Damaged / Loose / Cracked | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-08 11:28:20 | 2021-11-08 11:33:23 | 2021-11-08 22:49:23 | 2021-11-08 22:49:50 | 2021-11-08 22:50:15 | 2021-11-08 22:55:38
| FID3566 | Plumbing & Sanitary | Bidet spray / Hose | Leaking | Localised to room | Gardens By The Bay (South) > Active Garden > Level 1 > Male toilet |  | 2021-11-08 10:47:17 | 2021-11-08 10:47:48 | 2021-11-08 13:59:41 | 2021-11-08 14:00:08 | 2021-11-08 14:00:25 | 2021-11-08 14:01:15
| FID3555 | Building | Bollard | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Service Tunnel |  | 2021-11-08 09:57:18 | 2021-11-08 10:02:25 | 2021-11-08 14:10:57 | 2021-11-08 14:11:25 | 2021-11-08 14:12:01 | 2021-11-08 14:12:45
| FID3552 | Mechanical | Rain Curtain | Other: Water must be drained | Localised to room | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-08 09:14:17 | 2021-11-08 09:18:56 | 2021-11-08 10:36:12 | 2021-11-08 10:36:41 | 2021-11-08 10:37:02 | 2021-11-08 14:14:44
| FID3540 | Electrical | Screen / Projector | Other: Galaxy scanner tablet not working | Affecting Public | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-07 12:15:21 | 2021-11-07 12:30:16 | 2021-11-07 12:30:41 | 2021-11-07 12:31:06 | 2021-11-07 12:31:36 | 2021-11-07 12:32:31 |  |  |  |  | 1
| FID3539 | Electrical | Socket Outlet | Other: Galaxy scanner tablet not working | Localised to room | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-07 11:54:30 | 2021-11-07 12:33:07 | 2021-11-07 12:34:38 | 2021-11-07 12:35:48 | 2021-11-07 12:36:24 | 2021-11-07 12:38:44 |  |  |  |  | 1
| FID3538 | Electrical | HTLV | Other: Need to replace switch room panel screw | Localised to room | Gardens By The Bay (South) > Carparks |  | 2021-11-07 11:15:39 | 2021-11-07 11:24:15 | 2021-11-07 11:26:03 | 2021-11-07 11:26:30 | 2021-11-07 11:27:19 | 2021-11-07 12:40:26 |  |  |  |  | 1
| FID3537 | Mechanical | Air Conditioning System | Other: Air-cooler not working | Affecting Public | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-07 10:17:36 | 2021-11-07 11:02:20 | 2021-11-07 11:02:43 | 2021-11-07 11:03:07 | 2021-11-07 11:03:33 | 2021-11-07 11:28:57 |  |  |  |  | 1
| FID3535 | Mechanical | Air Conditioning System | Unserviceable | Localised to room | Gardens By The Bay (South) > Arrival Area > Level 1 > Security Rest Room |  | 2021-11-07 08:47:56 | 2021-11-07 08:48:25 | 2021-11-07 09:52:23 | 2021-11-07 09:52:48 | 2021-11-07 09:55:05 | 2021-11-07 09:55:40
| FID3534 | Telecommunication | Wireless | Other: Wifi not working... | WIthin Building | Gardens By The Bay (South) > Cloud Forest > Level 1 > Fire Command Centre (Ent 1) |  | 2021-11-07 08:21:06 | 2021-11-07 08:21:33 | 2021-11-07 08:21:53 | 2021-11-07 08:22:12 | 2021-11-07 08:22:34 | 2021-11-07 08:24:21
| FID3533 | Plumbing & Sanitary | Soap Dispenser | Damaged / Loose / Cracked | Localised to room | Gardens By The Bay (South) > Canopy Hub > Level 1 > Majestic Bay Restaurant |  | 2021-11-06 17:43:49 | 2021-11-06 17:44:13 | 2021-11-06 18:14:06 | 2021-11-06 18:14:58 | 2021-11-06 18:16:05 | 2021-11-06 18:17:04
| FID3532 | Building | Vehicle Barrier System | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Carparks |  | 2021-11-06 15:44:25 | 2021-11-06 16:11:20 | 2021-11-06 16:12:00 | 2021-11-06 16:12:31 | 2021-11-06 16:12:56 | 2021-11-06 16:18:08
| FID3531 | Plumbing & Sanitary | WC / Squatting Pedestal | Water flowing non-stop | Localised to room | Gardens By The Bay (South) > Active Garden |  | 2021-11-06 15:09:10 | 2021-11-06 15:24:55 | 2021-11-06 15:26:44 | 2021-11-06 15:27:06 | 2021-11-06 16:20:28 | 2021-11-06 16:21:35
| FID3530 | Plumbing & Sanitary | Urinal | Choked | Localised to room | Gardens By The Bay (South) > Arrival Area > Level 1 > Male Toilet |  | 2021-11-06 14:47:03 | 2021-11-06 14:47:48 | 2021-11-06 15:24:55 | 2021-11-06 15:25:15 | 2021-11-06 15:25:35 | 2021-11-06 15:26:10
| FID3529 | Mechanical | AHU / FCU / CU | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-06 14:25:06 | 2021-11-06 14:30:23 | 2021-11-06 15:21:52 | 2021-11-06 15:22:19 | 2021-11-06 15:22:42 | 2021-11-06 15:23:22
| FID3527 | Electrical | HTLV | Other: Replacement of screw | Localised to room | Gardens By The Bay (South) > Meadow |  | 2021-11-06 13:51:15 | 2021-11-06 13:52:39 | 2021-11-06 13:56:52 | 2021-11-06 13:57:17 | 2021-11-06 13:57:42 | 2021-11-06 15:24:21
| FID3524 | Building | Door Lock | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-06 09:58:09 | 2021-11-06 09:58:53 | 2021-11-06 10:48:49 | 2021-11-06 10:49:52 | 2021-11-06 10:50:29 | 2021-11-06 10:55:20
| FID3523 | Building Security System | CCTV System | Other: Disconnected | Affecting Public | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-06 08:35:45 | 2021-11-06 08:41:52 | 2021-11-06 09:17:49 | 2021-11-06 09:18:16 | 2021-11-06 09:18:39 | 2021-11-06 10:47:43
| FID3522 | Mechanical | Lift System | Airflow too strong / weak | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-05 19:07:28 | 2021-11-05 19:07:50 | 2021-11-05 21:35:49 | 2021-11-05 21:36:18 | 2021-11-05 21:50:11 | 2021-11-05 21:52:11
| FID3517 | Mechanical | Air Conditioning System | Noisy | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 2 > Magolia Room (CD 94) |  | 2021-11-05 15:45:06 | 2021-11-05 15:45:55 | 2021-11-05 16:03:12 | 2021-11-05 16:03:42 | 2021-11-05 16:04:11 | 2021-11-05 16:14:48
| FID3516 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Localised to room | Gardens By The Bay (South) > Arrival Area |  | 2021-11-05 15:29:57 | 2021-11-05 15:41:42 | 2021-11-05 15:42:26 | 2021-11-05 15:42:55 | 2021-11-05 15:43:24 | 2021-11-05 15:44:43
| FID3514 | Electrical | Junction Box | Other: DB faulty | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-05 13:35:21 | 2021-11-05 14:40:30 | 2021-11-05 14:40:55 | 2021-11-05 14:41:19 | 2021-11-05 14:41:49 | 2021-11-05 14:45:13
| FID3513 | Building | Door Lock | Other: Change locker lock | Localised to room | Gardens By The Bay (South) > Energy Centre |  | 2021-11-05 13:19:00 | 2021-11-05 13:19:38 | 2021-11-05 13:20:33 | 2021-11-05 13:24:07 | 2021-11-05 13:27:47 | 2021-11-05 13:29:16
| FID3512 | Plumbing & Sanitary | Soap Dispenser | Damaged / Loose / Cracked | Localised to room | Gardens By The Bay (South) > Arrival Area |  | 2021-11-05 13:15:33 | 2021-11-05 13:15:58 | 2021-11-05 14:45:48 | 2021-11-05 14:46:13 | 2021-11-05 14:46:43 | 2021-11-05 15:03:03
| FID3506 | Plumbing & Sanitary | Shower Fittings | Other: Tissue holder cannot close | Localised to room | Gardens By The Bay (South) > Canopy Hub > Level 1 > Female Toilet |  | 2021-11-05 09:30:22 | 2021-11-05 09:30:42 | 2021-11-05 09:50:24 | 2021-11-05 09:52:09 | 2021-11-05 09:52:28 | 2021-11-05 09:53:20
| FID3504 | Plumbing & Sanitary | Bidet spray / Hose | Damaged / Loose / Cracked | Affecting Public | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-11-05 08:46:08 | 2021-11-05 08:47:39 | 2021-11-05 09:02:34 | 2021-11-05 09:02:57 | 2021-11-05 09:03:24 | 2021-11-05 09:13:48 | [6 empty] | Malay garden handicap toilet
| FID3496 | Building | Vehicle Barrier System | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Satay by the Garden |  | 2021-11-04 17:50:01 | 2021-11-04 17:50:52 | 2021-11-05 00:06:01 | 2021-11-05 00:06:41 | 2021-11-05 00:07:19 | 2021-11-05 00:07:54
| FID3495 | Building | Vehicle Barrier System | Other: CPT/GCI error | Localised to room | Gardens By The Bay (South) > Carparks |  | 2021-11-04 17:35:09 | 2021-11-04 17:35:59 | 2021-11-05 01:26:24 | 2021-11-05 01:27:01 | 2021-11-05 01:27:31 | 2021-11-05 01:50:46
| FID3494 | Mechanical | Escalator | System Shows fault / Error code | Localised to room | Gardens By The Bay (South) > Arrival Area |  | 2021-11-04 16:28:07 | 2021-11-04 16:28:53 | 2021-11-04 17:04:59 | 2021-11-04 17:06:14 | 2021-11-04 17:06:36 | 2021-11-04 17:13:52
| FID3492 | Electrical | HTLV | Other: Replacement of screw | Localised to room | Gardens By The Bay (South) > Energy Centre |  | 2021-11-04 14:46:13 | 2021-11-04 14:46:35 | 2021-11-04 14:48:19 | 2021-11-04 14:48:46 | 2021-11-04 14:49:10 | 2021-11-04 15:12:52
| FID3491 | Building | Vehicle Barrier System | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Bayfront |  | 2021-11-04 14:06:14 | 2021-11-04 14:07:11 | 2021-11-04 14:10:38 | 2021-11-04 14:11:06 | 2021-11-04 14:11:33 | 2021-11-04 14:13:18
| FID3490 | Electrical | Miniature Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Service Tunnel |  | 2021-11-04 12:45:27 | 2021-11-04 12:46:01 | 2021-11-04 13:00:09 | 2021-11-04 13:00:53 | 2021-11-04 13:01:14 | 2021-11-04 13:02:52
| FID3489 | Mechanical | Air Conditioning System | System Shows fault / Error code | Localised to room | Gardens By The Bay (South) > Active Garden > Level 1 > Star Fruit Room(front entrance) |  | 2021-11-04 10:38:54 | 2021-11-04 10:39:39 | 2021-11-04 10:53:39 | 2021-11-04 10:54:18 | 2021-11-04 10:54:50 | 2021-11-04 11:00:05
| FID3488 | Plumbing & Sanitary | WC / Squatting Pedestal | Water flowing non-stop | Localised to room | Gardens By The Bay (South) > Arrival Area > Level 1 > Female Toilet |  | 2021-11-04 10:25:20 | 2021-11-04 10:25:38 | 2021-11-04 10:29:04 | 2021-11-04 10:29:17 | 2021-11-04 10:29:27 | 2021-11-04 11:01:17
| FID3487 | Building | Building External Surfaces | Chipped / Cracked | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-04 10:13:49 | 2021-11-04 10:14:18 | 2021-11-04 10:30:06 | 2021-11-04 10:30:31 | 2021-11-04 10:30:59 | 2021-11-04 11:33:26
| FID3486 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-04 09:49:19 | 2021-11-04 09:49:37 | 2021-11-04 10:27:19 | 2021-11-04 10:27:53 | 2021-11-04 10:28:24 | 2021-11-04 10:56:09
| FID3483 | Building | Vehicle Barrier System | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > Bayfront |  | 2021-11-04 00:36:45 | 2021-11-04 00:37:30 | 2021-11-04 00:51:22 | 2021-11-04 00:51:58 | 2021-11-04 00:53:02 | 2021-11-04 01:01:02
| FID3481 | Plumbing & Sanitary | Soap Dispenser | Damaged / Loose / Cracked | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-03 17:39:07 | 2021-11-03 17:39:27 | 2021-11-03 23:34:18 | 2021-11-03 23:34:36 | 2021-11-03 23:35:00 | 2021-11-03 23:36:24
| FID3480 | Mechanical | Lift System | Chipped / Cracked | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-03 16:33:40 | 2021-11-03 16:42:20 | 2021-11-03 16:42:45 | 2021-11-03 16:43:16 | 2021-11-03 16:43:44 | 2021-11-03 16:45:10
| FID3473 | Plumbing & Sanitary | Soap Dispenser | Damaged / Loose / Cracked | Localised to room | Gardens By The Bay (South) > Canopy Hub |  | 2021-11-03 14:00:31 | 2021-11-03 14:00:49 | 2021-11-03 14:47:44 | 2021-11-03 14:48:10 | 2021-11-03 15:38:54 | 2021-11-03 15:39:41
| FID3472 | Electrical | Miniature Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Satay by the Garden |  | 2021-11-03 13:25:43 | 2021-11-03 13:27:09 | 2021-11-03 14:45:40 | 2021-11-03 14:46:08 | 2021-11-03 14:46:29 | 2021-11-03 14:47:01
| FID3467 | Building | Vehicle Barrier System | Other: Printer paper low | Localised to room | Gardens By The Bay (South) > Carparks |  | 2021-11-03 11:40:18 | 2021-11-03 11:40:55 | 2021-11-03 11:46:11 | 2021-11-03 11:47:15 | 2021-11-03 11:49:07 | 2021-11-03 11:50:04
| FID3465 | Plumbing & Sanitary | Flush Button | Water flowing non-stop | Localised to room | Gardens By The Bay (South) > Canopy Hub |  | 2021-11-03 10:10:20 | 2021-11-03 10:10:47 | 2021-11-03 11:40:25 | 2021-11-03 11:41:30 | 2021-11-03 11:42:38 | 2021-11-03 11:43:17
| FID3464 | Plumbing & Sanitary | Bidet spray / Hose | Damaged / Loose / Cracked | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-11-03 09:52:12 | 2021-11-03 09:52:35 | 2021-11-03 11:37:09 | 2021-11-03 11:37:37 | 2021-11-03 11:38:52 | 2021-11-03 11:39:24
| FID3453 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 |  | 2021-11-02 19:57:51 | 2021-11-02 19:58:15 | 2021-11-02 20:59:31 | 2021-11-02 21:01:03 | 2021-11-02 21:03:38 | 2021-11-02 21:03:51
| FID3452 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Localised to room | Gardens By The Bay (South) > Cloud Forest > Level 1 > Fire Command Centre (Ent 2) |  | 2021-11-02 17:32:21 | 2021-11-02 20:56:35 | 2021-11-02 20:56:55 | 2021-11-02 20:57:20 | 2021-11-02 20:57:56 | 2021-11-02 21:48:34
| FID3450 | Electrical | Miniature Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-02 15:32:40 | 2021-11-02 15:33:05 | 2021-11-02 16:33:29 | 2021-11-02 16:33:55 | 2021-11-02 16:34:30 | 2021-11-02 16:39:12
| FID3446 | Building | Floor | Other: Water ponding | Localised to room | Gardens By The Bay (South) > Canopy Hub |  | 2021-11-02 14:53:12 | 2021-11-02 14:54:02 | 2021-11-02 17:03:43 | 2021-11-02 17:23:48 | 2021-11-02 17:24:20 | 2021-11-02 17:26:17
| FID3439 | Building | Vehicle Barrier System | Other: Low printer papaer | Localised to room | Gardens By The Bay (South) > Carparks |  | 2021-11-02 12:51:16 | 2021-11-02 13:01:11 | 2021-11-02 13:19:51 | 2021-11-02 13:44:58 | 2021-11-02 15:10:31 | 2021-11-02 15:12:43
| FID3437 | Building | Vehicle Barrier System | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > GBHQ |  | 2021-11-02 12:21:41 | 2021-11-02 12:22:10 | 2021-11-02 13:15:46 | 2021-11-02 13:16:37 | 2021-11-02 13:17:18 | 2021-11-02 13:18:15
| FID3432 | Building | Door Lock | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Energy Centre |  | 2021-11-02 11:00:32 | 2021-11-02 11:01:04 | 2021-11-02 13:05:55 | 2021-11-02 13:07:00 | 2021-11-02 13:07:38 | 2021-11-02 13:14:45
| FID3427 | Building | Signage | Unserviceable | Localised to room | Gardens By The Bay (South) > Carparks |  | 2021-11-02 09:34:01 | 2021-11-02 09:34:30 | 2021-11-02 12:59:52 | 2021-11-02 13:04:18 | 2021-11-02 13:07:33 | 2021-11-02 13:08:14
| FID3424 | Building | Vehicle Barrier System | Other: Exit barrier printer paper low error | Affecting Public | Gardens By The Bay (South) > Bayfront |  | 2021-11-01 21:02:43 | 2021-11-01 21:04:24 | 2021-11-01 21:57:15 | 2021-11-01 21:57:59 | 2021-11-01 21:58:41 | 2021-11-01 21:59:16
| FID3423 | Electrical | Light Fitting | Other: Not lighted up | Affecting Public | Gardens By The Bay (South) > Flower Dome > Level 3 > Flower Dome Entrance |  | 2021-11-01 20:21:50 | 2021-11-01 20:22:20 | 2021-11-01 20:46:08 | 2021-11-01 20:46:43 | 2021-11-01 20:47:32 | 2021-11-01 20:53:38
| FID3421 | Building | Vehicle Barrier System | Unserviceable | Affecting Public | Gardens By The Bay (South) > Bayfront |  | 2021-11-01 19:15:13 | 2021-11-01 19:16:03 | 2021-11-01 20:40:26 | 2021-11-01 23:04:40 | 2021-11-01 23:07:22 | 2021-11-01 23:14:24
| FID3420 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Localised to room | Gardens By The Bay (South) > GBHQ |  | 2021-11-01 17:15:28 | 2021-11-01 17:19:18 | 2021-11-01 20:37:20 | 2021-11-01 20:37:51 | 2021-11-01 20:38:19 | 2021-11-01 20:39:44
| FID3418 | Building | Ceiling | Other: Leaking | Localised to room | Gardens By The Bay (South) > Arrival Area > Level 1 > Arrival Gift Shop |  | 2021-11-01 15:36:32 | 2021-11-01 15:37:03 | 2021-11-01 17:01:41 | 2021-11-01 17:02:11 | 2021-11-01 17:02:36 | 2021-11-01 20:35:45
| FID3416 | Building Security System | VESDA System | Cannot Open / Close / Operate / Defective | Localised to room | Gardens By The Bay (South) > BMS Room |  | 2021-11-01 15:33:34 | 2021-11-01 15:33:53 | 2021-11-01 16:59:34 | 2021-11-01 16:59:53 | 2021-11-01 17:00:07 | 2021-11-01 17:00:50
| FID3410 | Electrical | Light Bulb | Flickering / Blown | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-11-01 13:22:03 | 2021-11-01 13:22:23 | 2021-11-01 16:55:55 | 2021-11-01 16:56:15 | 2021-11-01 16:56:39 | 2021-11-01 16:57:41
| FID3402 | Mechanical | Lift System | Unserviceable | Localised to room | Gardens By The Bay (South) > Floral Fantasy |  | 2021-11-01 10:21:18 | 2021-11-01 10:21:47 | 2021-11-01 11:11:13 | 2021-11-01 11:11:39 | 2021-11-01 16:54:26 | 2021-11-01 16:55:13
| FID3400 | Electrical | Socket | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Service Tunnel |  | 2021-11-01 09:49:22 | 2021-11-01 09:49:46 | 2021-11-01 11:09:25 | 2021-11-01 11:09:52 | 2021-11-01 11:10:13 | 2021-11-01 11:15:22
| FID3399 | Plumbing & Sanitary | Tap | No water | Localised to room | Gardens By The Bay (South) > GBHQ |  | 2021-11-01 09:28:57 | 2021-11-01 09:29:16 | 2021-11-01 11:07:58 | 2021-11-01 11:08:15 | 2021-11-01 11:08:53 | 2021-11-01 11:13:09